PLS-POLE XML File Description = C:\K2_Projects\Sample PLS-Pole Files\116 foot pole.xml

PLS-POLE XML File Version = 1.0

Project Name = test

Project Path = C:\pls\spole

Project Title = test

Project Notes = test

File Creation Date = 8/15/2005

Registered User Name = test

User Name = test

Origin Computer Name = test

Program version = 7.30

Load Case Type = Vector

Number of Load Cases = 15

Number of Poles = 1

Number of Pole Property Sets = 1

Number of Tubular Davit Arms = 8

Number of Tubular Davit Property Sets = 2

Number of Tubular Cross Arms = 0

Number of Tubular Cross Arm Property Sets = 0

Number of Joints defined = 0

Number of Baseplates defined = 0

Number of Equipment Property Sets = 0

Number of pieces of Equipment defined = 0

Steel Pole Data

Pole            Property         Tip     Base     Base X      Base Y       Base Z     Inclin    Inclin   Base

Name            Set Name         Joint   Joint    Coord.      Coord.       Coord.     About X   About Y  Conection

(ft)        (ft)         (ft)       (deg)     (deg)

25050           25050 HYBRID                       0.00        0.00         0.00        0.00      0.00   Fixed

Steel Pole Property Data

Property       No. of     Pole     Default   Pole   Pole     Tip      Base    Pole     Mod. of     Weight       Has

Name           Tubes      Length   Embed.    Shape  Shape    Dia.     Dia.    Taper    Elast Ovr   Dens Ovr  Baseplate?

(ft)     (ft)            Base     (in)     (in)             (ksi)       (pcf)

25050 HYBRID    3        116.50     0.00      12F            20.00     0.00   0.3050    29000.      0.00       False

Tube Data

Property       Tube    Tube    Tube    Lap     Yield   Calc.  Tube    Top   Bot   1.5 Dia  Lap   Mom Cap

Name           Number  Length  Thick.  Length  Stress  Taper  Weight  Dia.  Dia.  Lap Len  Gap   Ovr

(ft)    (in)    (ft)    (ksi)  (in/ft) (lbf)   (in)  (in)   (ft)    (in)  (ft-k)

25050 HYBRID      1   20.50   0.1875   0.00      65   0.30500    965  20.00  26.25   3.23  0.000   0.00

25050 HYBRID      2   51.00   0.3125   5.25      65   0.30500   5923  26.50  42.06   5.18  0.000   0.00

25050 HYBRID      3   50.25   0.4375   0.00      65   0.30500  11319  39.83  55.16   0.00  0.000   0.00

Tubular Davit Arm Data

Davit Arm       Property          Attachment      Distance

Name            Set Name          Label           From Top    Azimuth

(ft)       (deg)

SWR             25050 SW          25050:A1         22.00          0

SWL             25050 SW          25050:A1         22.00        180

C1R             25050 COND        25050:A2         29.66          0

C1L             25050 COND        25050:A2         29.66        180

C2R             25050 COND        25050:A3         42.16          0

C2L             25050 COND        25050:A3         42.16        180

C3R             25050 COND        25050:A4         54.66          0

C3L             25050 COND        25050:A4         54.66        180

Tubular Davit Arm Property Data

Property       Steel  Steel      Wall     Base      Tip    Arm     Mod Of   Yield    Weight     # Geometry

Name           Shape  Shape-End  Thick.   Dia.      Dia.   Taper   Elast    Stress   Dens Ovr    Points

(in)     (in)      (in)   (in/ft)  (ksi)    (ksi)    (lb/ft^3)

25050 SW        8T               0.1875    6.00     6.00   0.0000   29000      65     0.0         2

25050 COND      8T               0.3125   11.00     7.00   0.4178   29000      65     0.0         2

Reactions At Pole Groundlines By Load Case

Pole             Load Case        Long. (X)     Trans. (Y)    Vert. (Z)      Moment        Moment         Moment

Label            Name             Shear         Shear         Force          About X Axis  About Y Axis   About Z Axis

(kips)        (kips)        (kips)         (ft-k)        (ft-k)         (ft-k)

25050            NESC HEAVY         0.00         23.89        -79.78          1935.6           0.0           0.0

25050            NU HEAVY ICE       0.00          4.59        -82.58           371.8           0.0           0.0

25050            ASCE ICE/WIND      0.00         18.91        -70.18          1534.9           0.0           0.0

25050            EX WIND            0.00         52.31        -43.12          4082.3           0.0           0.0

25050            UNBALANCED ICE   -33.90         19.09        -69.67          1543.8       -2754.4           0.9

25050            DEFLECTION         0.00          1.52        -38.82           119.5           0.0           0.0

25050            CONSTRUCTION      -5.64          7.73        -92.54           620.4        -453.4           0.1

25050            EIA                0.00         53.26        -40.75          4177.4           0.0           0.0

25050            BROKEN SW         -5.57         19.81        -69.71          1600.3        -548.4         -31.1

25050            BROKEN COND      -14.53         19.59        -69.70          1586.4       -1133.8         157.9

25050            NESC HEAVY 1 ..    0.00         15.11        -60.06          1417.7           0.0           0.0

25050            NU HEAVY ICE ..    0.00          2.30        -58.60           439.9           0.0           0.0

25050            ASCE ICE/WIND..    0.00         11.74        -51.56          1138.5           0.0           0.0

25050            EX WIND 1 SIDE     0.00         38.31        -34.81          3040.3           0.0           0.0

25050            EIA 1 SIDE         0.00         39.26        -32.44          3135.7           0.0           0.0

Reactions At Tubular Davit Arm Bases By Load Case

Davit            Load Case        Vertical      Horizontal    Axial          Vertical      Horizontal     Torsional

Label            Name             Shear         Shear         Force          Moment        Moment         Moment

(kips)        (kips)        (kips)         (ft-k)        (ft-k)         (ft-k)

SWR              NESC HEAVY         2.23          0.00          1.50          -10.61          0.00          0.00

SWR              NU HEAVY ICE       3.46          0.00          0.30          -15.58          0.00          0.00

SWR              ASCE ICE/WIND      2.43          0.00          1.32          -11.43          0.00          0.00

SWR              EX WIND            0.59          0.00          1.83           -3.45          0.00          0.00

SWR              UNBALANCED ICE     2.11          2.83          1.38          -10.07        -12.73          1.40

SWR              DEFLECTION         0.65          0.00          0.07           -2.86          0.00          0.00

SWR              CONSTRUCTION       2.61          0.25          0.32          -11.76         -1.11          0.10

SWR              EIA                0.58          0.00          1.83           -3.42          0.00          0.00

SWR              BROKEN SW          2.17          5.57          1.33          -10.27        -25.01          2.80

SWR              BROKEN COND        2.22          0.04          1.45          -10.58         -0.18          0.00

SWR              NESC HEAVY 1 ..    2.24          0.00          1.50          -10.62          0.00          0.00

SWR              NU HEAVY ICE ..    3.45          0.00          0.33          -15.59          0.00          0.00

SWR              ASCE ICE/WIND..    2.43          0.00          1.32          -11.44          0.00          0.00

SWR              EX WIND 1 SIDE     0.62          0.00          1.82           -3.55          0.00          0.00

SWR              EIA 1 SIDE         0.61          0.00          1.82           -3.52          0.00          0.00

SWL              NESC HEAVY         2.23          0.00         -1.50           -9.17          0.00          0.00

SWL              NU HEAVY ICE       3.46          0.00         -0.29          -15.30          0.00          0.00

SWL              ASCE ICE/WIND      2.43          0.00         -1.32          -10.17          0.00          0.00

SWL              EX WIND            0.59          0.00         -1.83           -1.64          0.00          0.00

SWL              UNBALANCED ICE     2.12         -2.84         -1.36           -8.75         12.80         -1.40

SWL              DEFLECTION         0.65          0.00         -0.07           -2.79          0.00          0.00

SWL              CONSTRUCTION       2.61         -0.25         -0.31          -11.46          1.11         -0.10

SWL              EIA                0.58          0.00         -1.83           -1.61          0.00          0.00

SWL              BROKEN SW          2.22         -0.02         -1.44           -9.19          0.09          0.00

SWL              BROKEN COND        2.22         -0.04         -1.44           -9.19          0.18          0.00

SWL              NESC HEAVY 1 ..    0.08          0.00          0.00           -0.19          0.00          0.00

SWL              NU HEAVY ICE ..    0.06          0.00          0.00           -0.14          0.00          0.00

SWL              ASCE ICE/WIND..    0.06          0.00          0.00           -0.14          0.00          0.00

SWL              EX WIND 1 SIDE     0.06          0.00          0.00           -0.13          0.00          0.00

SWL              EIA 1 SIDE         0.05          0.00          0.00           -0.12          0.00          0.00

C1R              NESC HEAVY         6.19          0.00          2.63          -59.62          0.00          0.00

C1R              NU HEAVY ICE       7.17          0.00          0.71          -67.41          0.00          0.00

C1R              ASCE ICE/WIND      5.67          0.00          2.10          -54.71          0.00          0.00

C1R              EX WIND            2.57          0.00          4.25          -27.68          0.00          0.00

C1R              UNBALANCED ICE     5.91          4.95          2.41          -57.29        -46.91          5.70

C1R              DEFLECTION         2.58          0.00          0.23          -23.43          0.00          0.00

C1R              CONSTRUCTION       9.03          0.92          0.93          -84.81         -8.69          1.10

C1R              EIA                2.53          0.00          4.25          -27.47          0.00          0.00

C1R              BROKEN SW          6.09          0.06          2.54          -59.16         -0.54          0.10

C1R              BROKEN COND        6.09          0.10          2.54          -59.16         -0.94          0.10

C1R              NESC HEAVY 1 ..    6.20          0.00          2.61          -59.67          0.00          0.00

C1R              NU HEAVY ICE ..    7.16          0.00          0.76          -67.41          0.00          0.00

C1R              ASCE ICE/WIND..    5.68          0.00          2.09          -54.73          0.00          0.00

C1R              EX WIND 1 SIDE     2.62          0.00          4.21          -28.14          0.00          0.00

C1R              EIA 1 SIDE         2.59          0.00          4.22          -27.93          0.00          0.00

C1L              NESC HEAVY         6.19          0.00         -2.62          -53.92          0.00          0.00

C1L              NU HEAVY ICE       7.17          0.00         -0.70          -65.89          0.00          0.00

C1L              ASCE ICE/WIND      5.67          0.00         -2.09          -50.13          0.00          0.00

C1L              EX WIND            2.56          0.00         -4.25          -18.04          0.00          0.00

C1L              UNBALANCED ICE     5.91         -4.96         -2.40          -52.07         47.19         -5.80

C1L              DEFLECTION         2.58          0.00         -0.23          -22.90          0.00          0.00

C1L              CONSTRUCTION       9.03         -0.92         -0.92          -82.87          8.71         -1.10

C1L              EIA                2.52          0.00         -4.25          -17.82          0.00          0.00

C1L              BROKEN SW          6.09         -0.06         -2.53          -53.66          0.54         -0.10

C1L              BROKEN COND        6.09         -0.10         -2.53          -53.66          0.94         -0.10

C1L              NESC HEAVY 1 ..    0.42          0.00         -0.01           -1.95          0.00          0.00

C1L              NU HEAVY ICE ..    0.31          0.00          0.00           -1.44          0.00          0.00

C1L              ASCE ICE/WIND..    0.31          0.00         -0.01           -1.43          0.00          0.00

C1L              EX WIND 1 SIDE     0.30          0.00         -0.02           -1.39          0.00          0.00

C1L              EIA 1 SIDE         0.27          0.00         -0.02           -1.25          0.00          0.00

C2R              NESC HEAVY         6.20          0.00          2.61          -59.68          0.00          0.00

C2R              NU HEAVY ICE       7.17          0.00          0.71          -67.41          0.00          0.00

C2R              ASCE ICE/WIND      5.68          0.00          2.08          -54.74          0.00          0.00

C2R              EX WIND            2.60          0.00          4.23          -27.96          0.00          0.00

C2R              UNBALANCED ICE     5.93          4.94          2.40          -57.45        -46.76          5.70

C2R              DEFLECTION         2.58          0.00          0.23          -23.43          0.00          0.00

C2R              CONSTRUCTION       9.03          0.91          0.92          -84.81         -8.66          1.10

C2R              EIA                2.57          0.00          4.23          -27.77          0.00          0.00

C2R              BROKEN SW          6.10          0.05          2.52          -59.20         -0.48          0.10

C2R              BROKEN COND        6.10          0.10          2.52          -59.20         -0.93          0.10

C2R              NESC HEAVY 1 ..    6.21          0.00          2.59          -59.74          0.00          0.00

C2R              NU HEAVY ICE ..    7.16          0.00          0.75          -67.41          0.00          0.00

C2R              ASCE ICE/WIND..    5.68          0.00          2.07          -54.77          0.00          0.00

C2R              EX WIND 1 SIDE     2.65          0.00          4.20          -28.41          0.00          0.00

C2R              EIA 1 SIDE         2.62          0.00          4.20          -28.22          0.00          0.00

C2L              NESC HEAVY         6.20          0.00         -2.60          -54.01          0.00          0.00

C2L              NU HEAVY ICE       7.17          0.00         -0.70          -65.90          0.00          0.00

C2L              ASCE ICE/WIND      5.68          0.00         -2.08          -50.19          0.00          0.00

C2L              EX WIND            2.59          0.00         -4.23          -18.38          0.00          0.00

C2L              UNBALANCED ICE     5.93         -4.94         -2.39          -52.25         47.05         -5.70

C2L              DEFLECTION         2.58          0.00         -0.23          -22.90          0.00          0.00

C2L              CONSTRUCTION       9.03         -0.91         -0.91          -82.89          8.68         -1.10

C2L              EIA                2.56          0.00         -4.23          -18.17          0.00          0.00

C2L              BROKEN SW          6.10         -0.05         -2.52          -53.72          0.48         -0.10

C2L              BROKEN COND        5.91        -14.59         -2.03          -52.46        139.01        -17.00

C2L              NESC HEAVY 1 ..    0.42          0.00         -0.01           -1.95          0.00          0.00

C2L              NU HEAVY ICE ..    0.31          0.00          0.00           -1.44          0.00          0.00

C2L              ASCE ICE/WIND..    0.31          0.00         -0.01           -1.43          0.00          0.00

C2L              EX WIND 1 SIDE     0.30          0.00         -0.02           -1.39          0.00          0.00

C2L              EIA 1 SIDE         0.28          0.00         -0.01           -1.26          0.00          0.00

C3R              NESC HEAVY         6.21          0.00          2.58          -59.75          0.00          0.00

C3R              NU HEAVY ICE       7.17          0.00          0.70          -67.41          0.00          0.00

C3R              ASCE ICE/WIND      5.69          0.00          2.06          -54.79          0.00          0.00

C3R              EX WIND            2.65          0.00          4.20          -28.33          0.00          0.00

C3R              UNBALANCED ICE     5.96          4.91          2.38          -57.73        -46.49          5.70

C3R              DEFLECTION         2.58          0.00          0.23          -23.43          0.00          0.00

C3R              CONSTRUCTION       9.03          0.91          0.91          -84.82         -8.59          1.00

C3R              EIA                2.61          0.00          4.20          -28.15          0.00          0.00

C3R              BROKEN SW          6.11          0.04          2.51          -59.26         -0.39          0.00

C3R              BROKEN COND        6.11          0.09          2.50          -59.25         -0.80          0.10

C3R              NESC HEAVY 1 ..    6.22          0.00          2.56          -59.82          0.00          0.00

C3R              NU HEAVY ICE ..    7.17          0.00          0.73          -67.41          0.00          0.00

C3R              ASCE ICE/WIND..    5.69          0.00          2.05          -54.82          0.00          0.00

C3R              EX WIND 1 SIDE     2.69          0.00          4.17          -28.73          0.00          0.00

C3R              EIA 1 SIDE         2.66          0.00          4.18          -28.55          0.00          0.00

C3L              NESC HEAVY         6.21          0.00         -2.58          -54.15          0.00          0.00

C3L              NU HEAVY ICE       7.17          0.00         -0.70          -65.91          0.00          0.00

C3L              ASCE ICE/WIND      5.69          0.00         -2.06          -50.28          0.00          0.00

C3L              EX WIND            2.64          0.00         -4.20          -18.81          0.00          0.00

C3L              UNBALANCED ICE     5.96         -4.91         -2.37          -52.57         46.77         -5.70

C3L              DEFLECTION         2.58          0.00         -0.23          -22.90          0.00          0.00

C3L              CONSTRUCTION       9.04         -0.91         -0.90          -82.92          8.61         -1.00

C3L              EIA                2.60          0.00         -4.20          -18.62          0.00          0.00

C3L              BROKEN SW          6.11         -0.04         -2.50          -53.82          0.39          0.00

C3L              BROKEN COND        6.11         -0.09         -2.50          -53.82          0.80         -0.10

C3L              NESC HEAVY 1 ..    0.42          0.00         -0.01           -1.95          0.00          0.00

C3L              NU HEAVY ICE ..    0.31          0.00          0.00           -1.44          0.00          0.00

C3L              ASCE ICE/WIND..    0.31          0.00          0.00           -1.43          0.00          0.00

C3L              EX WIND 1 SIDE     0.30          0.00         -0.01           -1.40          0.00          0.00

C3L              EIA 1 SIDE         0.28          0.00         -0.01           -1.27          0.00          0.00

Steel Pole Usage Summary

Pole                 Load Case                    Segment           Maximum

Name                 Name                         Number            Usage       Weight

(%)        (lbf)

25050                EIA                            18               98.07       18207

Summary Of Steel Pole Usages By Load Case

Load Case                Pole                  Segment           Maximum

Name                     Name                   Number            Usage

(%)

NESC HEAVY               25050                    18               37.56

NU HEAVY ICE             25050                    18                8.97

ASCE ICE/WIND            25050                    18               30.06

EX WIND                  25050                    18               76.20

UNBALANCED ICE           25050                    28               57.17

DEFLECTION               25050                    18                3.06

CONSTRUCTION             25050                    18               16.64

EIA                      25050                    18               98.07

BROKEN SW                25050                    18               33.69

BROKEN COND              25050                    18               37.09

NESC HEAVY 1 SIDE        25050                    18               33.78

NU HEAVY ICE 1 SIDE      25050                    15               17.37

ASCE ICE/WIND 1 SIDE     25050                    18               28.02

EX WIND 1 SIDE           25050                    18               60.75

EIA 1 SIDE               25050                    18               78.77

Summary Of Maximum Usages By Load Case

Load Case                Element               Element                Maximum

Name                     Name                  Type                   Usage

(%)

NESC HEAVY               SWR                    Tubular Davit         40.03

NU HEAVY ICE             SWR                    Tubular Davit         58.01

ASCE ICE/WIND            SWR                    Tubular Davit         43.02

EX WIND                  25050                  Steel Pole            76.20

UNBALANCED ICE           SWR                    Tubular Davit         61.04

DEFLECTION               C1R                    Tubular Davit         15.43

CONSTRUCTION             C3R                    Tubular Davit         55.89

EIA                      25050                  Steel Pole            98.07

BROKEN SW                SWR                    Tubular Davit         94.50

BROKEN COND              C2L                    Tubular Davit         92.53

NESC HEAVY 1 SIDE        SWR                    Tubular Davit         40.09

NU HEAVY ICE 1 SIDE      SWR                    Tubular Davit         58.02

ASCE ICE/WIND 1 SIDE     SWR                    Tubular Davit         43.04

EX WIND 1 SIDE           25050                  Steel Pole            60.75

EIA 1 SIDE               25050                  Steel Pole            78.77

Vector Load Case Data

Load Case            Dead Load  Wind Area   Safety    Wind/Ice        Trans.     Long.     Ice     Ice           # Point    Pole Defl            Pole Defl

Name                 Factor     Factor      Factor     Model          Wind Pr.   Wind Pr.  Thk.    Dens.  Temp   Loads      Check                Limit

Poles                      (psf)      (psf)    (in)    (psf)  (deg F)                                   (ft)

NESC HEAVY           1.50        1.00        1.00     Wind on All      10.0       0.0      0.50    56.0     0      10       No Limit               0.00

NU HEAVY ICE         1.10        1.00        1.00     Wind on All       0.0       0.0      1.00    56.0     0      10       No Limit               0.00

ASCE ICE/WIND        1.10        1.00        1.00     Wind on All       7.0       0.0      0.75    56.0     0      10       No Limit               0.00

EX WIND              1.10        1.00        1.00     Wind on All      40.7       0.0      0.00    56.0     0      10       No Limit               0.00

UNBALANCED ICE       1.10        1.00        1.00     Wind on All       4.4       0.0      0.50    56.0     0      10       No Limit               0.00

DEFLECTION           1.00        1.00        1.00     Wind on All       0.0       0.0      0.00    56.0     0      10       No Limit               0.00

CONSTRUCTION         1.50        1.00        1.00     Wind on All       3.5       0.0      0.00    56.0     0      10       No Limit               0.00

EIA                  1.00        1.00        0.80     Wind on All      41.1       0.0      0.00    56.0     0      10       No Limit               0.00

BROKEN SW            1.10        1.00        1.00     Wind on All       4.4       0.0      0.50    56.0     0      10       No Limit               0.00

BROKEN COND          1.10        1.00        1.00     Wind on All       4.4       0.0      0.50    56.0     0      10       No Limit               0.00

NESC HEAVY 1 SIDE    1.50        1.00        1.00     Wind on All      10.0       0.0      0.50    56.0     0       6       No Limit               0.00

NU HEAVY ICE 1 SIDE  1.10        1.00        1.00     Wind on All       0.0       0.0      1.00    56.0     0       6       No Limit               0.00

ASCE ICE/WIND 1 SIDE 1.10        1.00        1.00     Wind on All       7.0       0.0      0.75    56.0     0       6       No Limit               0.00

EX WIND 1 SIDE       1.10        1.00        1.00     Wind on All      40.7       0.0      0.00    56.0     0       6       No Limit               0.00

EIA 1 SIDE           1.00        1.00        0.80     Wind on All      41.1       0.0      0.00    56.0     0       6       No Limit               0.00